## Sheet1
|  | BASE BID |  |  |  | #2 - ADD VOLLEYBALL COURT |  |  |  | #3 - ADD CENTRAL PARK AREA |  |  |  | #4 - ADD SOUTH & EAST OF LITHO ST. WORK |  |  |  | #5 - ADD SHORELINE BEACH ACCESS WORK |  |  |  | #6 - ADD LIVING SHORELINE WORK
Line # | Description | Quantity | Unit | Unit Price | Total Cost | Quantity | Unit | Unit Price | Total Cost | Quantity | Unit | Unit Price | Total Cost | Quantity | Unit | Unit Price | Total Cost | Quantity | Unit | Unit Price | Total Cost | Quantity | Unit | Unit Price | Total Cost
| SITE PREPARATION | [7 empty] | With Base Project
Demolish and remove off site :
1 | Gravel/asphalt parking and driveway | 27000 | sf |  | 0 |  |  |  |  | 2800 | sf |  | 0 | 2070 | sf |  | 0
2 | Sod, ground cover, etc. | 1 | ls |  | 0 |  |  |  |  | 1 | ls |  | 0
3 | Concrete planter walls | 150 | lf |  | 0
4 | Log rails | 10 | ea |  | 0 |  |  |  |  | 4 | ea |  | 0
5 | Concrete lattice or other fencing | 225 | lf |  | 0 | [8 empty] | 450 | lf |  | 0
6 | Gate | 1 | ea |  | 0
7 | Bollards | 9 | ea |  | 0 |  |  |  |  | 8 | ea |  | 0
8 | Underground utility lines | 1 | ls |  | 0 |  |  |  |  | 1 | ls |  | 0
9 | Trees, incl grinding stumps | 40 | ea |  | 0 |  |  |  |  | 17 | ea |  | 0
10 | Miscellaneous demolition | 1 | ls |  | 0 |  |  |  |  | 1 | ls |  | 0 |  |  |  |  | 1 | ls
11 | Temporary fencing | 1 | ls |  | 0 |  |  |  |  | 1 | ls |  | 0
12 | Protect (e) trees, gazebo, etc. | 1 | ls |  | 0 |  |  |  |  | 1 | ls |  | 0 |  |  |  |  | 1 | ls
13 | Concrete wheel stops | 24 | ea |  | 0
14 | Bocce Courts | [8 empty] | 2 | ea |  | 0
15 | Timber pilings | [8 empty] | 7 | ea |  | 0
16 | Storm drain cover | [8 empty] | 1 | ls |  | 0
17 | Timber pilings | [16 empty] | 26 | ea |  | 0
Remove, save and reinstall at a later date existing:
18 | Park sign | 2 | ea |  | 0
19 | Sign poles | 1 | ls |  | 0 |  |  |  |  | 1 | ls |  | 0
20 | Sand (volley ball court) | 1 | ls |  | 0
21 | Benches | [8 empty] | 1 | ls |  | 0
22 | Plaques | [8 empty] | 2 | ea |  | 0
23 | Stone seats | [8 empty] | 8 | ea |  | 0
Site Preparation
24 | Clear and grub area of site | 80000 | sf |  | 0 |  |  |  | With Base project | 65500 | sf |  | 0 | 28750 | sf |  | 0 | 2500 | sf |  | 0 | 24730 | sf |  | 0
25 | Prep subgrade, scarify, compact | 80000 | sf |  | 0 | 4640 | sf |  | 0 | 65500 | sf |  | 0 | 28750 | sf |  | 0 | 2500 | sf |  | 0 | 24730 | sf |  | 0
Prep site to new levels (Balanced Cut and Fill):
26 | Cut, store on site for reuse | 2935 | cy |  | 0 | 168 | cy |  | 0 | 132 | cy |  | 0 | 282 | cy |  | 0 |  |  |  |  | 639 | cy |  | 0
27 | Dry, compact (e) fill (from base fill areas in Alternates) | 267 | cy |  | 0 | 8 | cy |  | 0 | 2802 | cy |  | 0 | 5 | cy |  | 0 | 254 | cy |  | 0 | 198 | cy |  | 0
28 | Finish grading | 80000 | sf |  | 0 | 4640 | sf |  | 0 | 65500 | sf |  | 0 | 28750 | sf |  | 0 | 2500 | sf |  | 0 | 24730 | sf |  | 0
| Erosion Control | [7 empty] | With Base project
29 | Gravel construction entrance / exit | 2500 | sf |  | 0 | [7 empty] | With Base project |  |  | with base project |  |  |  | with base project |  |  |  | with base project
30 | Concrete washout | 1 | ls |  | 0 | [7 empty] | With Base project |  |  | with base project |  |  |  | with base project |  |  |  | with base project
31 | Stockpile fence, tarp, etc. | 1 | ls |  | 0 | [7 empty] | With Base project |  |  | with base project |  |  |  | with base project |  |  |  | with base project
32 | Storm inlet protection | 5 | ea |  | 0 |  |  |  |  | 7 | ea |  | 0 | 5 | ea |  | 0 | [6 empty] | with base project
33 | Wattles, Ertec | 240 | lf |  | 0 |  |  |  |  | 336 | lf |  | 0 | 320 | lf |  | 0 | 240 | lf |  | 0 | 900 | lf |  | 0
34 | Silt fence | 260 | lf |  | 0 |  |  |  |  | 480 | lf |  | 0 | 400 | lf |  | 0 | 260 | lf |  | 0 | 900 | lf |  | 0
35 | Street cleaning | 5 | mth |  | 0 | [7 empty] | With Base project |  |  | with base project |  |  |  | with base project |  |  |  | with base project
36 | Velocity check dams | 1 | ls |  | 0 |  |  |  |  | 1 | ls |  | 0 | 1 | ls |  | 0 | 1 | ls |  | 0 | 1 | ls |  | 0
37 | Maintenance crew, sand bags, straw bales, tarps, etc. | 1 | ls |  | 0 |  |  |  |  | 1 | ls |  | 0 | 1 | ls |  | 0 | 1 | ls |  | 0 | 1 | ls |  | 0
| SITE PREPARATION - TOTAL: |  |  |  | 0 | [7 empty] | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
| SITE UTILITIES | [7 empty] | With Base Project |  |  | With Base Project |  |  |  |  | None |  |  |  | None |  |  |  | None
Storm Drainage
38 | Remove/demolish/abandon/plug and fill with CLSM (e) 390 lf CMP storm line and mh | 1 | ea |  | 0
39 | Plug (e) lines, partial demo | 1 | ls |  | 0
40 | Storm drain 6" HDPE per Tech Spec Section 33 41 00 | 450 | lf |  | 0
41 | Storm drain 8" HDPE per Tech Spec Section 33 41 00 | 400 | lf |  | 0
42 | Storm drain 12" HDPE per Tech Spec Section 33 41 00 | 230 | lf |  | 0
43 | Perf drain 4" PE per Tech Spec Section 33 41 00 | 1000 | lf |  | 0
44 | Area Drains: 9" | 3 | ea |  | 0
45 | Area Drains: 12" | 1 | ea |  | 0
46 | Area Drains: 18" | 7 | ea |  | 0
47 | Catch basin per Tech Spec Section 33 41 00 | 1 | ea |  | 0
48 | Junction box (18-inch ) | 1 | ea |  | 0
49 | Cleanouts | 4 | ea |  | 0
50 | Connect to (e) | 1 | ea |  | 0
51 | Misc. accessories, clean up, test | 1 | ea |  | 0
Storm Drainage main run
52 | Connect to (e) at Bridgeway | 1 | ls |  | 0
52A | Shoring | 1 | ls |  | 0
52B | Dewatering | 1 | ls |  | 0
53A | SD piping, HDPE, 30-inch | 560 | lf |  | 0
53B | SD piping, HDPE, 36-inch | 100 | lf |  | 0
53C | Junction Box per A/C4.2 | 1 | ea |  | 0
54 | Intercept vault 10x18 | 1 | ea |  | 0
55 | Sediment collector | 1 | ea |  | 0
56 | Outfall (discharge from two (2) 36-inch HDPE per H/C4.0) | 1 | ea |  | 0
57 | Misc. accessories, clean up, test | 1 | ls |  | 0
Domestic water / irrigation
58 | Water line, 2" HDPE per Tech Spec Section 33 14 16 | 420 | lf |  | 0
59 | Shutoff valve, 2" in box | 3 | ea |  | 0
60 | PRV | 1 | ea |  | 0
61 | BFP 2" | 1 | ea |  | 0
62 | Drinking fountain w/ dog bowl | 1 | ea |  | 0
63 | Water meter | MMWD
64 | Thrust blocks | 1 | ls |  | 0
65 | Connect to (e) service | 2 | ea |  | 0
66 | Misc. accessories, clean up | 1 | ls |  | 0
Water / fire
67 | Fire hydrant | 1 | ea |  | 0
68 | Pipe-FP 4" u/g (C900 PVC or DIP per Tech Spec Section 33 14 16) | 280 | lf |  | 0
69 | Valve w/box 4" | 1 | ea |  | 0
70 | Auto air release assembly | 1 | ea |  | 0
71 | Thrust Block | 2 | ea |  | 0
72 | Connect to (e) service | 1 | ea |  | 0
73 | Misc. valves & accessories | 1 | ls |  | 0
74 | Test & clean | 1 | ls |  | 0
Sewer
75 | Sewer line, 6" PVC | 230 | lf |  | 0
76 | Sewer line, 4" PVC | 60 | lf |  | 0
77 | Manhole (n) | 1 | ea |  | 0
78 | Manhole connect to (e) | 1 | ea |  | 0
79 | Cleanouts | 1 | ea |  | 0
80 | Connect to bldgs. 4" | 1 | ea |  | 0
81 | Barricades/utility protection | 1 | ls |  | 0
82 | Misc. accessories, clean up | 1 | ea |  | 0
| SITE UTILITIES - TOTAL |  |  |  | 0
| PAVING I FLATWORK | [7 empty] | With Base Project | [11 empty] | None
Paving:
83 | AC Paving Profile: 5" permeable AC, 3" of 1/2" crushed rock, | 27600 | sf |  | 0
Mirafi fabric, 18" of 3/4" clean crushed rock, Geogrid per A/C4.0
84 | Permeable pavers | 2030 | sf |  | 0
Stabilized aggregate paving, Vehicle,
85 | 6" base rock, 4" granitecrete | 4360 | sf |  | 0
Stabilized aggregate paving, Pedestrian
86 | 4" base rock, 3" stabilized agg paving (granite crete) | 8500 | sf |  | 0 |  |  |  |  | 7140 | sf |  | 0 | 2500 | sf |  | 0 |  |  |  |  | 400 | sf |  | 0
87 | Extra for sloped grade | [20 empty] | 400 | sf |  | 0
Curbs
88 | Driveway approach | 120 | lf |  | 0
89 | Curb 6"x16" | 1500 | lf |  | 0
90 | Curb Flush 6" | 850 | lf |  | 0 |  |  |  |  | 160 | lf |  | 0
91 | Truncated dome warning paver assembly (not in curb ramps) per 4/L4.0 | 140 | sf |  | 0
91A | Curb Ramps per D/C4.2 | 2 | ea |  | 0
92 | Striping | 1 | ls |  | 0
| PAVING / FLATWORK TOTAL |  |  |  | 0 | [7 empty] | 0 |  |  |  | 0 | [7 empty] | 0
SITE STRUCTURES / FURNISHINGS
| Stone veneer wall (Entry Plaza) | [16 empty] | Shoreline Access
93 | Foundation, complete, 2'x6" (rebar included) Sheet L4.3 | 68 | lf |  | 0 | [12 empty] | 115 | lf |  | 0
94 | Concrete retaining wall, concrete, complete (rebar included) Sheet L4.3 | 136 | sf |  | 0 | [12 empty] | 460 | sf |  | 0
95 | Stone facing | 136 | sf |  | 0 | [12 empty] | 288 | sf |  | 0
96 | Stone cap | 68 | lf |  | 0 | [12 empty] | 115 | lf |  | 0
97 | Terrace seating CL2 Ag Base thickness varies Sheet L4.3 | [16 empty] | 600 | sf |  | 0
98 | Install granite block terrace seating -- blocks by Owner | [16 empty] | 600 | sf |  | 0
99 | Ramp w/ granite crete | [16 empty] | 440 | sf |  | 0
100 | Gravel to beach | [16 empty] | 51 | cy |  | 0
Bocce ball court (3 ea - 60'x10')
101 | Concrete perimeter, 6"x2' | 420 | lf |  | 0
102 | Bumpers and headers | 420 | lf |  | 0
103 | Cap, 3"x8" | 1260 | bf |  | 0
104 | Court shell fill, agg base | 1800 | sf |  | 0
Trash enclosure
105 | Slab on Grade including floor drain connected to SS per 1/L4.2 | 105 | sf |  | 0
106 | Curb | 31 | sf |  | 0
107 | Footing w/ sleeve | 1 | ea |  | 0
108 | 4"x4" Galv TS Posts | 7 | ea |  | 0
109 | Cedar siding | 240 | sf |  | 0
110 | Gate, w/ TS, and hardware | 2 | ea |  | 0
110A | Roof structure and standing seam metal roof per L4.2 | 1 | ea |  | 0
Miscellaneous
111 | Giant timber seat, 19’ long | 4 | ea |  | 0
112 | Giant timber seat, 25' long | 1 | ea |  | 0
113 | Giant timber seat, 6' long | [8 empty] | 6 | ea |  | 0 | [8 empty] | 1 | ea |  | 0
114 | Picnic tables | 3 | ea |  | 0 |  |  |  |  | 3 | ea |  | 0 | 1 | ea |  | 0
115 | Picnic table ADA | 3 | ea |  | 0 |  |  |  |  | 1 | ea |  | 0 | 1 | ea |  | 0
116 | Bike racks | 7 | ea |  | 0 |  |  |  |  | 3 | ea |  | 0
117 | Wheel stops, cedar, 6"x6" | 22 | ea |  | 0
118 | Wood bollards | [8 empty] | 3 | ea |  | 0
119 | Trash recycle receptacles | [8 empty] | 4 | ea |  | 0
120 | Fence, cedar posts, wire mesh, 3' | [8 empty] | 115 | lf |  | 0 | [8 empty] | 150 | lf |  | 0
Volleyball Court (50'x 80')
121 | Concrete post base |  |  |  |  | 2 | ea |  | 0
122 | Baserock |  |  |  |  | 74 | cy |  | 0
123 | Sand |  |  |  |  | 259 | cy |  | 0
124 | Post and net |  |  |  |  | 1 | ls |  | 0
[8 empty] | ALT #2 TOTAL: | 0
| Romtec Restroom Building, 14'x28' |  |  |  |  | #1 - ADD ROMTEC RESTROOM
Complete design, purchase and install Romtec restroom building & materials including:
125 | Form, Rebar & Pour Foundation & Slab on grade |  |  |  |  | 392 | sf |  | 0
126 | Restroom Building Design, Construction & Complete Installation, including, but not limited to: |  |  |  |  | 1 | ls |  | 0
CMU wall, install (including rebar and mortar)
Roof framing, install
Siding / trim, install
Doors, frames and hardware, install
Metal roof, insulation, etc. install
Paint interior walls, ceiling, doors, exterior siding & trim
Install partitions, accessories, etc.
Rough plumbing
Plumbing, install, finish
HVAC
Sprinkler
Electrical rough (provide conduit and wire)
Electrical, install, finish
Breakage
| SITE STRUCTURES / FURNISHINGS TOTAL |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
| SIGNAGE | [19 empty] | None |  |  |  | None
127 | Park rules | 1 | ls |  | 0 |  |  |  |  | 1 | ea |  | 0 | 1 | ea |  | 0
128 | Regulatory | 1 | ls |  | 0 |  |  |  |  | 1 | ea |  | 0 | 1 | ea |  | 0
129 | Parking, ADA | 1 | ls |  | 0
| SIGNAGE TOTAL |  |  |  | 0 | [7 empty] | 0 |  |  |  | 0
| PLANTING AND SOIL PREPARATION | [19 empty] | None
Landscape
130 | Import top soil / loam | 346 | cy |  | 0 |  |  |  |  | 1070 | cy |  | 0 | 464 | cy |  | 0 |  |  |  |  | 432 | cy |  | 0
131 | Turf - natural | 6967 | sf |  | 0 |  |  |  |  | 52144 | sf |  | 0
132 | Shrub planting (See planting schedule on L8.2) | 11690 | sf |  | 0 |  |  |  |  | 5619 | sf |  | 0 | 25060 | sf |  | 0
133 | Trees, 24 box | 17 | ea |  | 0 |  |  |  |  | 5 | ea |  | 0 | 15 | ea |  | 0 |  |  |  |  | 11 | ea |  | 0
134 | Trees, 36 box | 12 | ea |  | 0 |  |  |  |  | 12 | ea |  | 0 | 2 | ea |  | 0
135 | Mulch | 11690 | sf |  | 0 |  |  |  |  | 5619 | sf |  | 0 | 25060 | sf |  | 0 |  |  |  |  | 23341 | sf |  | 0
136 | 120 day Planting Maintenance -- NOT IN CONTRACT | 1 | ls |  | 0 |  |  |  |  | 0 | ls |  | 0 | 1 | ls |  | 0 |  |  |  |  | 1 | ls |  | 0
137 | Shoreline planting | [20 empty] | 23341 | sf |  | 0
| PLANTING AND SOIL PREPARATION TOTAL |  |  |  | 0 | [7 empty] | 0 |  |  |  | 0 | [7 empty] | 0
| IRRIGATION SYSTEM | [19 empty] | None
Complete irrigation system
138 | @ turf | 6967 | sf |  | 0 |  |  |  |  | 52144 | sf |  | 0
139 | @shrubs | 11690 | sf |  | 0 |  |  |  |  | 5619 | sf |  | 0 | 25060 | sf |  | 0
140 | @ trees | 29 | ea |  | 0 |  |  |  |  | 17 | ea |  | 0 | 17 | ea |  | 0 |  |  |  |  | 11 | ea |  | 0
141 | Irrigation control system (including controller) | 1 | ls |  | 0
| IRRIGATION SYSTEM TOTAL |  |  |  | 0 | [7 empty] | 0 |  |  |  | 0 | [7 empty] | 0
| ELECTRICAL | [15 empty] | None |  |  |  | None |  |  |  | None
Electrical Relocation: Safe off, crossover, and
142 | Demo (e) primary and secondary power | 1 | ls |  | 0 |  |  |  |  | 1 | ls |  | 0
Electrical Service:
143 | Locate & Intercept (e) service | 1 | ls |  | 0
144 | New 100A Panel, complete | 1 | ls |  | 0
145 | Conduit, trench, wire - from panel | 300 | lf |  | 0 |  |  |  |  | 525 | lf |  | 0
146 | Protect (e) service | 1 | ls |  | 0
147 | Conduit / power in trench | 100 | lf |  | 0
148 | GFI’s | 2 | ea |  | 0
Irrigation controllers
149 | Power, conduit and trench | 1 | ea |  | 0
Site Lighting:
150 | Luminaire LED - Pole Single with base per 5 and 6/L4.0 | 6 | ea |  | 0
151 | Luminaire LED - Pole Double with base per 5 and 6/L4.0 | 6 | ea |  | 0
152 | N9 box | 16 | ea |  | 0
153 | N30 box | 3 | ea |  | 0
154 | PVC lighting runs, trench | 600 | lf |  | 0
155 | Conduit w/ pull string 1" | 250 | lf |  | 0
156 | Controls | 1 | ls |  | 0
157 | Testing, commission, etc. | 1 | ls |  | 0
158 | Add Outlets to Gazebo | 1 | ls |  | 0
159 | Picnic table master switch Note 9 E2.0 per detail 4/E6.1 | [8 empty] | 1 | ls |  | 0
160 | Picnic table outlets/event power 2/L4.4 | [8 empty] | 2 | ea |  | 0
| ELECTRICAL TOTAL |  |  |  | 0 | [7 empty] | 0
| TOTALS: |  |  | BASE BID: | 0 |  |  | ALT. #1: | 0 |  |  | ALT. #3: | 0 |  |  | ALT. #4: | 0 |  |  | ALT. #5: | 0 |  |  | ALT. #6: | 0
BASE BID ALTERNATE A
ALTERNATE A: DEDUCTIVE ALTERNATE INSTALL 2 NEW STORM DRAIN OUTFALLS INSTEAD OF ABANDON ONE (E) AND CONSTRUCT TWIN 30-INCH (C3.0)
161 | Shoring | 1 | ls |  | 0
162 | Dewatering | 1 | ls |  | 0
163 | Delete 30-inch and 36-inch HDPE pipe segments | 1 | ls |  | 0
164 | Delete Remove/Demolish 240 LF (E) 30-inch and 230 LF 24-inch CMP SD (L1.0) | 1 | ls |  | 0
165 | Add 36-inch HDPE pipe segments for two (2) new outfall structures | 100 | lf |  | 0
166 | Reduce 36-inch SD outfall per C3.0 and A/C4.2 from two (2) 36-inch to one (1) 36-inch and add one (1) additional 36-inch SD outfall per A/C4.2 | 1 | ls |  | 0
167 | Add one (1) additional SDJB Per A/C4.2 | 1 | ea |  | 0
168 | SDMH - Abandon & fill in place | 2 | ea |  | 0
| ALT. A TOTAL |  |  |  | 0
ALTERNATE B: DEDUCTIVE ALTERNATE DEFERRED COMMENCEMENT
169 | Cost savings if City allows Contractor to start project in Spring 2018 in lieu of following Award. | 1 | ls |  | 0
| TOTAL OF BASE BID, ALTERNATES #1-#6, AND ALTERNATES A & B: |  |  |  | 0